## Slide 1
FINAL ROUND — ADDITIONAL CHALLENGE TASK
Report Card & Threshold Tuner
Making the alert-level trade-off visible and adjustable, on top of ClusterHealth AI's existing prediction engine.
Alert threshold — adjustable, not fixed
Team NephroAI
ClusterHealth AI — Predictive & Explainable GPU Cluster Mgmt
Track: AI for Cluster Intelligence (Predictive Operations)
AI Innovation Hackathon 2026 · Department of CSE, Daffodil International University

## Slide 2
The Gap
The alert level was fixed by the team — not the operator.
!
Threshold too strict
Real GPU/CPU faults slip through unflagged — operators find out only after a device has already failed.
Missed faults ↑
!
Threshold too loose
The screen fills with false alarms — operators stop trusting alerts and start ignoring the ones that matter.
False alarms ↑
Nobody could see this trade-off before choosing — different clusters need different balance points.

## Slide 3
What We Built
One new module, src/report_card.py — mounted on top of the existing engine, nothing else touched.
▤
Report Card
One small table: Faults Caught, Faults Missed, False Alarms — counted against the dataset's own ground-truth labels.
◐
Threshold Tuner
A slider (5%–95%) plus Low/Medium/High presets. Moving it recomputes all three counts together, instantly, on the same stored data.
✦
Suggested Level
Sweeps every threshold and recommends the one that best balances catching faults vs. false alarms — with a one-sentence, numbers-backed reason.

## Slide 4
How It Fits
Additive by design — new router, new file, zero edits to any existing model or endpoint.
Stored Telemetry
(data/telemetry.csv)
→
XGBoost + BiGRU-Attention
(hybrid ensemble)
→
SHAP
Explainability
Existing pipeline — unchanged
↓ scored once at startup (inference only — no training)
NEW · report_card.py — cached in memory as { probabilities, ground_truth }
Threshold changes become one NumPy comparison against the cache — no re-inference per slider move.
GET /reportcard/config
GET /reportcard?threshold=
GET /reportcard/suggested
Dashboard: a new “Report Card & Threshold Tuner” panel below the Cost Optimizer banner — independent of the Live/Static toggle, always reads the stored run.

## Slide 5
The Numbers Behind It
Verified against the real stored dataset — the pattern below is schematic; exact counts populate live on your dashboard.
26,100
stored windows scored once
from the labeled run
815
known injected faults —
the ground truth the tuner is graded against
β = 2
recall weighted ~4× precision —
a missed fault costs more than a false alarm
Chart: Illustrative pattern as the threshold moves (schematic, not live output)
| Loose | Suggested | Strict
Faults Caught | 100 | 98 | 40
Faults Missed | 0 | 2 | 60
False Alarms | 55 | 8 | 1

## Slide 6
Live Demo Script
~60 seconds, inside the existing dashboard pitch
1
Open the Report Card panel — point at the two verified numbers: windows scored, known faults.
2
Drag the slider to a strict level (75%+) — Faults Caught drops, Faults Missed climbs live.
3
Drag to a loose level (25%) — False Alarms spike instead. Trade-off is now visible, not theoretical.
4
Click ✨ Use Suggested — the tuner jumps to the recommended level and reads its one-sentence reason aloud.
Honest caveat
Injected failure signatures are clean, so probabilities saturate near 0/1 — several thresholds can tie on the suggestion score. Ties break deterministically: fewest false alarms, then closest to the sweep midpoint.
Roadmap
• Precision/recall curve next to the tuner
• Persist the operator's chosen threshold
• Calibrate the ensemble (Platt / isotonic) so the slider spreads out more realistically
clusterhealth-ai · src/report_card.py · docs/DESIGN_NOTE_report_card.md